## sizing
|  | Workload (TPS) | Core per Server | Max Server Faults | HA Ratio
|  | 2000 | 16 | 5 | 80%
| Typical core Ratio | TPS by Core | # of Cores for workload TPS | HA cores | Prod cores | Dev % of Workload | Dev cores | Test % of Workload | Test cores | PreProd % of Workload | PreProd cores | DR active cores % of Prod+PreProd | DR cores | DR CBU (spare) cores | Tot # of Active cores | x86 to z Active Core ratio | Tot # of Active cores no DR | x86 to z Core ratio no DR | Tot # of cores | x86 to z Core ratio
x86 | 10 | 20 | 100 | 80 | 180 | 50% | 50 | 50% | 50 | 100% | 100 | 120% | 336 |  | 716 | 23.8667 | 380 | 12.6667 | 716 | 14.32
LinuxONE | 1 | 200 | 10 |  | 10 | 50% | 5 | 50% | 5 | 100% | 10 |  |  | 20 | 30 |  | 30 |  | 50

## x86 TCO
Small Size Enterprise | [15 empty] | Acquisition Cost |  |  |  |  | Maintenance/ Operating Cost |  |  |  |  | TOTALS
Typically x86 workload | [15 empty] | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5
Hardware
Server Model |  | Acquisition Cost | Maintenance/ Operating Cost | Starting Year of Maint | Discount % | # of Cores per Server | # of Sockets | # of Cores per socket | # of "boxes" per Rack |  | kW
Rack server w Xeon Gold 6244 8C 3.60GHz (2 Chips, 16 Cores) | 1 | 8000 | 1600 | 4 | 30% | 16 | 2 | 8 | 30 |  | 0.5
Rack server w Xeon Gold 6244 8C 3.60GHz (2 Chips, 16 Cores) | S | 8000 | 1600 | 4 | 30% | 16 | 2 | 8 | 30 |  | 0.5
Rack server w Xeon Gold 5115 10C 2.40GHz (2 Chips, 20 Cores) | 0 | 10000 | 2000 | 4 | 30% | 20 | 2 | 10 | 30 |  | 0.6
Rack server w Xeon Gold 6146 12C 3.20GHz (2 Chips, 24 Cores) | 0 | 12000 | 2400 | 4 | 30% | 24 | 2 | 12 | 15 |  | 1.2
Rack server w Xeon Gold 6146 12C 3.20GHz (4 Chips, 48 Cores) | 0 | 24000 | 4800 | 4 | 30% | 48 | 4 | 12 | 15 |  | 1.2
Rack server w Xeon Gold 6226R 2.90 GHz, 16 Cores | 0 | 5,582.00 | 1116.4 | 4 | 30% | 0
Rack server w Xeon Gold 6226R 2.90 GHz, 16 cores | 0 | 6,806.00 | 1217.2 | 4 | 30% | 0
| 0 |  |  |  |  | 0
| 0 |  |  |  |  | 0
| 0 |  |  |  |  | 0
| 0 |  |  |  |  | 0
| 0 |  |  |  |  | 0
Environment being investigated |  | # of Cores for bare workload | % of Cores vs bare workload | Allocated Cores | cores per Server | Allocated Servers | Tot cores available | Spare Cores | % of spare cores | Allocated Sockets |  |  | # of Server | # of Sockets | # of Cores | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Prod |  | 100 | see sizing | 180 | 16 | 12 | 192 | 12 | 6.25% | 23 |  | Prod | 12 | 23 | 180 | 67200 |  |  |  |  | 0 | 0 | 0 | 13440 | 13440 | 94080 | Prod
Dev |  |  | 50% | 50 | 16 | 4 | 64 | 14 | 21.88% | 7 |  | Dev | 4 | 7 | 50 | 22400 |  |  |  |  | 0 | 0 | 0 | 4480 | 4480 | 31360 | Dev
Test |  |  | 50% | 50 | 16 | 4 | 64 | 14 | 21.88% | 7 |  | Test | 4 | 7 | 50 | 22400 |  |  |  |  | 0 | 0 | 0 | 4480 | 4480 | 31360 | Test
PreProd |  |  | 100% | 100 | 16 | 7 | 112 | 12 | 10.71% | 13 |  | PreProd | 7 | 13 | 100 | 39200 |  |  |  |  | 0 | 0 | 0 | 7840 | 7840 | 54880 | QA
DR |  |  | 120% | 336 | 16 | 19 | 304 | -32 | -10.53% | 42 |  | DR | 19 | 42 | 336 | 106400 |  |  |  |  | 0 | 0 | 0 | 21280 | 21280 | 148960 | DR
TOT |  |  |  | 716 |  | 46 | 736 | 20 | 2.717% | 92 |  |  | 46 | 92 | 716 | 257600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51520 | 51520 | 360640 | TOT
[13 empty] | # of Server | # of Sockets | # of Cores
Software Stack
Production |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  |  | 2000 | 1 | 20% | socket | socket | 1 | 12 | 23 | 180 |  | 23 | socket | 23 | 0 |  |  |  |  | 36800 | 36800 | 36800 | 36800 | 36800 | 184000
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1 | 12 | 23 | 180 |  | 23 | socket | 23 | 92000 |  |  |  |  | 0 | 18400 | 18400 | 18400 | 18400 | 165600
Application Server |  | 100 | 20 | 2 | 75% | PVU | core | 70 | 12 | 23 | 180 |  | 180 | PVU | 12600 | 315000 |  |  |  |  | 0 | 63000 | 63000 | 63000 | 63000 | 567000
DB |  | 40000 | 8000 | 2 | 75% | core | core | 0.5 | 12 | 23 | 180 |  | 180 | core | 90 | 900000 |  |  |  |  | 0 | 180000 | 180000 | 180000 | 180000 | 1620000
Data Replication Tools |  |  | 3000 | 1 | 75% | core | core | 0.5 | 12 | 23 | 180 |  | 180 | core | 90 | 0 |  |  |  |  | 67500 | 67500 | 67500 | 67500 | 67500 | 337500
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 12 | 23 | 180 |  | 12 | server | 12 | 36000 |  |  |  |  | 0 | 7200 | 7200 | 7200 | 7200 | 64800
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 12 | 23 | 180 |  | 12 | server | 12 | 36000 |  |  |  |  | 0 | 7200 | 7200 | 7200 | 7200 | 64800
[15 empty] | PROD | 1379000 | 0 | 0 | 0 | 0 | 104300 | 380100 | 380100 | 380100 | 380100 | 3003700
Dev |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  | 0 | 2000 | 1 | 20% | socket | socket | 1 | 4 | 7 | 50 |  | 7 | socket | 7 | 0 |  |  |  |  | 11200 | 11200 | 11200 | 11200 | 11200 | 56000
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1 | 4 | 7 | 50 |  | 7 | socket | 7 | 28000 |  |  |  |  | 0 | 5600 | 5600 | 5600 | 5600 | 50400
Application Server |  | 100 | 20 | 2 | 75% | PVU | core | 70 | 4 | 7 | 50 |  | 50 | PVU | 3500 | 87500 |  |  |  |  | 0 | 17500 | 17500 | 17500 | 17500 | 157500
DB |  | 40000 | 8000 | 2 | 75% | core | core | 0.5 | 4 | 7 | 50 |  | 50 | core | 25 | 250000 |  |  |  |  | 0 | 50000 | 50000 | 50000 | 50000 | 450000
Data Replication Tools |  | 0 | 3000 | 1 | 75% | core | core | 0.5 | 4 | 7 | 50 |  | 50 | core | 25 | 0 |  |  |  |  | 18750 | 18750 | 18750 | 18750 | 18750 | 93750
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 4 | 7 | 50 |  | 4 | server | 4 | 12000 |  |  |  |  | 0 | 2400 | 2400 | 2400 | 2400 | 21600
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 4 | 7 | 50 |  | 4 | server | 4 | 12000 |  |  |  |  | 0 | 2400 | 2400 | 2400 | 2400 | 21600
[15 empty] | DEV | 389500 | 0 | 0 | 0 | 0 | 29950 | 107850 | 107850 | 107850 | 107850 | 850850
Test |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  | 0 | 2000 | 1 | 20% | socket | socket | 1 | 4 | 7 | 50 |  | 7 | socket | 7 | 0 |  |  |  |  | 11200 | 11200 | 11200 | 11200 | 11200 | 56000
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1 | 4 | 7 | 50 |  | 7 | socket | 7 | 28000 |  |  |  |  | 0 | 5600 | 5600 | 5600 | 5600 | 50400
Application Server |  | 100 | 20 | 2 | 75% | PVU | core | 70 | 4 | 7 | 50 |  | 50 | PVU | 3500 | 87500 |  |  |  |  | 0 | 17500 | 17500 | 17500 | 17500 | 157500
DB |  | 40000 | 8000 | 2 | 75% | core | core | 0.5 | 4 | 7 | 50 |  | 50 | core | 25 | 250000 |  |  |  |  | 0 | 50000 | 50000 | 50000 | 50000 | 450000
Data Replication Tools |  | 0 | 3000 | 1 | 75% | core | core | 0.5 | 4 | 7 | 50 |  | 50 | core | 25 | 0 |  |  |  |  | 18750 | 18750 | 18750 | 18750 | 18750 | 93750
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 4 | 7 | 50 |  | 4 | server | 4 | 12000 |  |  |  |  | 0 | 2400 | 2400 | 2400 | 2400 | 21600
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 4 | 7 | 50 |  | 4 | server | 4 | 12000 |  |  |  |  | 0 | 2400 | 2400 | 2400 | 2400 | 21600
[15 empty] | Test | 389500 | 0 | 0 | 0 | 0 | 29950 | 107850 | 107850 | 107850 | 107850 | 850850
Pre Prod / QA |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  | 0 | 2000 | 1 | 20% | socket | socket | 1 | 7 | 13 | 100 |  | 13 | socket | 13 | 0 |  |  |  |  | 20800 | 20800 | 20800 | 20800 | 20800 | 104000
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1 | 7 | 13 | 100 |  | 13 | socket | 13 | 52000 |  |  |  |  | 0 | 10400 | 10400 | 10400 | 10400 | 93600
Application Server |  | 100 | 20 | 2 | 75% | PVU | core | 70 | 7 | 13 | 100 |  | 100 | PVU | 7000 | 175000 |  |  |  |  | 0 | 35000 | 35000 | 35000 | 35000 | 315000
DB |  | 40000 | 8000 | 2 | 75% | core | core | 0.5 | 7 | 13 | 100 |  | 100 | core | 50 | 500000 |  |  |  |  | 0 | 100000 | 100000 | 100000 | 100000 | 900000
Data Replication Tools |  | 0 | 3000 | 1 | 75% | core | core | 0.5 | 7 | 13 | 100 |  | 100 | core | 50 | 0 |  |  |  |  | 37500 | 37500 | 37500 | 37500 | 37500 | 187500
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 7 | 13 | 100 |  | 7 | server | 7 | 21000 |  |  |  |  | 0 | 4200 | 4200 | 4200 | 4200 | 37800
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 7 | 13 | 100 |  | 7 | server | 7 | 21000 |  |  |  |  | 0 | 4200 | 4200 | 4200 | 4200 | 37800
[15 empty] | Pre Prod /QA | 769000 | 0 | 0 | 0 | 0 | 58300 | 212100 | 212100 | 212100 | 212100 | 1675700
DR |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  | 0 | 2000 | 1 | 20% | socket | socket | 1 | 19 | 42 | 336 |  | 42 | socket | 42 | 0 |  |  |  |  | 67200 | 67200 | 67200 | 67200 | 67200 | 336000
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1 | 19 | 42 | 336 |  | 42 | socket | 42 | 168000 |  |  |  |  | 0 | 33600 | 33600 | 33600 | 33600 | 302400
Application Server |  | 100 | 20 | 2 | 75% | PVU | core | 70 | 19 | 42 | 336 |  | 336 | PVU | 23520 | 588000 |  |  |  |  | 0 | 117600 | 117600 | 117600 | 117600 | 1058400
DB |  | 40000 | 8000 | 2 | 75% | core | core | 0.5 | 19 | 42 | 336 |  | 336 | core | 168 | 1680000 |  |  |  |  | 0 | 336000 | 336000 | 336000 | 336000 | 3024000
Data Replication Tools |  | 0 | 3000 | 1 | 75% | core | core | 0.5 | 19 | 42 | 336 |  | 336 | core | 168 | 0 |  |  |  |  | 126000 | 126000 | 126000 | 126000 | 126000 | 630000
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 19 | 42 | 336 |  | 19 | server | 19 | 57000 |  |  |  |  | 0 | 11400 | 11400 | 11400 | 11400 | 102600
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 19 | 42 | 336 |  | 19 | server | 19 | 57000 |  |  |  |  | 0 | 11400 | 11400 | 11400 | 11400 | 102600
[15 empty] | DR | 2550000 | 0 | 0 | 0 | 0 | 193200 | 703200 | 703200 | 703200 | 703200 | 5556000
[13 empty] | Software Stack TOTALS |  |  | 5477000 | 0 | 0 | 0 | 0 | 415700 | 1511100 | 1511100 | 1511100 | 1511100 | 11937100 | TOT
People
People | [12 empty] | # of Server | FTE Require |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
# of Servers covered by 1 FTE for IT Operations considering QoS |  |  | 30 | This is for patches, upgrade, backup, Crit Sit or Disaster recovery personnels, etc | [7 empty] | Prod | 12 | 0.4 |  | 1: 40000; 2: 40000; 3: 40000; 4: 40000; 5: 40000 | 200000 | Prod
Avg yearly Fully loaded cost of IT Staff |  |  | 100000 | [8 empty] | Dev | 4 | 0.13333 |  | 1: 13333.3333; 2: 13333.3333; 3: 13333.3333; 4: 13333.3333; 5: 13333.3333 | 66666.6667 | Dev
[12 empty] | Test | 4 | 0.13333 |  | 1: 13333.3333; 2: 13333.3333; 3: 13333.3333; 4: 13333.3333; 5: 13333.3333 | 66666.6667 | Test
[12 empty] | QA | 7 | 0.23333 |  | 1: 23333.3333; 2: 23333.3333; 3: 23333.3333; 4: 23333.3333; 5: 23333.3333 | 116666.6667 | QA
[12 empty] | DR | 19 | 0.63333 |  | 1: 63333.3333; 2: 63333.3333; 3: 63333.3333; 4: 63333.3333; 5: 63333.3333 | 316666.6667 | DR
[13 empty] | TOT FTE required | 1.5333 |  | 0 | 0 | 0 | 0 | 0 | 153333.3333 | 153333.3333 | 153333.3333 | 153333.3333 | 153333.3333 | 766666.6667 | TOT
Network
Network | [13 empty] | # of Server |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Avg cost of Networking Infrastructure per Server |  |  | 7000 | [9 empty] | Prod | 12 |  | 58800 |  |  |  |  | 0 | 5880 | 5880 | 5880 | 5880 | 82320 | Prod
Avg discount % |  |  | 30% | [9 empty] | Dev | 4 |  | 19600 |  |  |  |  | 0 | 1960 | 1960 | 1960 | 1960 | 27440 | Dev
Avg Maintenance/ Operating Cost (% of acq.) |  |  | 10% | [9 empty] | Test | 4 |  | 19600 |  |  |  |  | 0 | 1960 | 1960 | 1960 | 1960 | 27440 | Test
Avg Maintenance/ Operating Cost (Currency) |  |  | 700 | [9 empty] | QA | 7 |  | 34300 |  |  |  |  | 0 | 3430 | 3430 | 3430 | 3430 | 48020 | QA
Starting Year of Maint |  |  | 2 | [9 empty] | DR | 19 |  | 93100 |  |  |  |  | 0 | 9310 | 9310 | 9310 | 9310 | 130340 | DR
[13 empty] | TOT # of Servers | 46 |  | 225400 | 0 | 0 | 0 | 0 | 0 | 22540 | 22540 | 22540 | 22540 | 315560 | TOT
Facilities
Space | [12 empty] | # of Server | # of Rack Cab | Avg. Footprint | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Footprint of Server Rack Cabinet |  | sq.m. | 2.6 | [8 empty] | Prod | 12 | 0.4 | 2 | 1: 5200; 2: 5200; 3: 5200; 4: 5200; 5: 5200 | 26000 | Prod
# of "boxes" per Rack |  |  | 30 | [8 empty] | Dev | 4 | 0.13333 | 0.34667 | 1: 901.3333; 2: 901.3333; 3: 901.3333; 4: 901.3333; 5: 901.3333 | 4506.6667 | Dev
Fully loaded cost of space per sq meter |  | $ | 2600 | [8 empty] | Test | 4 | 0.13333 | 0.34667 | 1: 901.3333; 2: 901.3333; 3: 901.3333; 4: 901.3333; 5: 901.3333 | 4506.6667 | Test
[12 empty] | QA | 7 | 0.23333 | 0.60667 | 1: 1577.3333; 2: 1577.3333; 3: 1577.3333; 4: 1577.3333; 5: 1577.3333 | 7886.6667 | QA
[12 empty] | DR | 19 | 0.63333 | 2 | 1: 5200; 2: 5200; 3: 5200; 4: 5200; 5: 5200 | 26000 | DR
[13 empty] | 46 | 1.5333 | 5.3 | 0 | 0 | 0 | 0 | 0 | 13780 | 13780 | 13780 | 13780 | 13780 | 68900 | TOT
[13 empty] | # of Server | # of Rack Cab | 4 | 1: 13780
Electricity | [12 empty] | # of Servers | kWh / year |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Actual Electricity Cost at the sites |  | $/kWh | 0.1 | [8 empty] | Prod | 12 | 52560 |  | 13780 1: 5256; 13780 2: 5256; 13780 3: 5256; 13780 4: 5256; 13780 5: 5256 | 26280 | Prod
Electricity Additional Cost for cooling, UPS and other peripherals |  | % | 66% | [8 empty] | Dev | 4 | 17520 |  | 13780 1: 1752; 13780 2: 1752; 13780 3: 1752; 13780 4: 1752; 13780 5: 1752 | 8760 | Dev
Electricity Consumption of Selected Server |  | kWh | 0.5 | [8 empty] | Test | 4 | 17520 |  | 13780 1: 1752; 13780 2: 1752; 13780 3: 1752; 13780 4: 1752; 13780 5: 1752 | 8760 | Test
Yearly kWh/ server |  | kWh | 4380 | [8 empty] | QA | 7 | 30660 |  | 13780 1: 3066; 13780 2: 3066; 13780 3: 3066; 13780 4: 3066; 13780 5: 3066 | 15330 | QA
[12 empty] | DR | 19 | 83220 |  | 13780 1: 8322; 13780 2: 8322; 13780 3: 8322; 13780 4: 8322; 13780 5: 8322 | 41610 | DR
[13 empty] | 46 | 201480 |  | 0 | 0 | 0 | 0 | 0 | 20148 | 20148 | 20148 | 20148 | 20148 | 100740 | TOT
[13 empty] | # of Servers | kWh / year
[12 empty] | Prod |  |  |  | 0 | 0 | 0 | 0 | 0 | 10456 | 10456 | 10456 | 10456 | 10456 | 52280 | Prod
[12 empty] | Dev |  |  |  | 0 | 0 | 0 | 0 | 0 | 2653.3333 | 2653.3333 | 2653.3333 | 2653.3333 | 2653.3333 | 13266.6667 | Dev
[12 empty] | Test |  |  |  | 0 | 0 | 0 | 0 | 0 | 2653.3333 | 2653.3333 | 2653.3333 | 2653.3333 | 2653.3333 | 13266.6667 | Test
[12 empty] | QA |  |  |  | 0 | 0 | 0 | 0 | 0 | 4643.3333 | 4643.3333 | 4643.3333 | 4643.3333 | 4643.3333 | 23216.6667 | QA
[12 empty] | DR |  |  |  | 0 | 0 | 0 | 0 | 0 | 13522 | 13522 | 13522 | 13522 | 13522 | 67610 | DR
[13 empty] | Facilities TOTALS |  |  | 0 | 0 | 0 | 0 | 0 | 33928 | 33928 | 33928 | 33928 | 33928 | 169640 | TOT
[14 empty] | Total costs for this scenario |  | 5960000 | 0 | 0 | 0 | 0 | 602961.3333 | 1720901.3333 | 1720901.3333 | 1772421.3333 | 1772421.3333 | 13549606.6667 | TOT
[14 empty] | Tot costs per year |  | 13780 1: 6562961.3333; 13780 2: 1720901.3333; 13780 3: 1720901.3333; 13780 4: 1772421.3333; 13780 5: 1772421.3333 | 13549606.6667
[14 empty] | Tot cumulative costs |  | 13780 1: 6562961.3333; 13780 2: 8283862.6667; 13780 3: 10004764; 13780 4: 11777185.3333; 13780 5: 13549606.6667

## LinuxONE TCO
Enterprise Grade Linux Environment | [14 empty] | Acquisition/Capital Cost |  |  |  |  | Maintenance/ Operating Cost |  |  |  |  | TOTALS
Typically LinuxONE | [14 empty] | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5
Hardware
Linux ONE | Acquisition Cost | Included cores | core cost | CBU Cost | Discount % | # of Cores per Server | Maintenance/ Operating Cost | Starting Year of Maint | kW |  |  | SW Incl | SW incl | SW incl | Acquisition/Capital Cost 1: SW incl
Simplicistic model to build a price example | 600000 | 6 | 50000 | 5000 | 30% | 190 | 10% | 4 | 15 |  |  | OS | VM | Admin | Acquisition/Capital Cost 1: Management
This is an estimate based on this web page: | https://www.ibm.com/it-infrastructure/resources/tools/linuxone-tco-calculator/
Simplicistic architecture considering always 2 LinuxONE servers, each one in a different site for HA & DR
| # of Cores (core) for bare workload | % of Cores vs bare workload | Allocated Cores | Site 1 core | Site 2 core | Site 1 CBU | Site 2 CBU |  | Allocation % |  |  | # of Server | # of Sockets | # of Cores | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Prod | 10 | see sizing | 10 | 10 |  |  | 10 | Prod | 33.33% |  | Prod | 0.66667 | 10 | 10 | 490000 |  |  |  |  | 0 | 0 | 0 | 49000 | 49000 | 588000 | Prod
Dev |  | 50% | 5 | 5 | 0 |  |  | Dev | 16.67% |  | Dev | 0.33333 | 5 | 5 | 245000 |  |  |  |  | 0 | 0 | 0 | 24500 | 24500 | 294000 | Dev
Test |  | 50% | 5 | 0 | 5 |  |  | Test | 16.67% |  | Test | 0.33333 | 5 | 5 | 245000 |  |  |  |  | 0 | 0 | 0 | 24500 | 24500 | 294000 | Test
PreProd |  | 100% | 10 |  | 10 | 10 |  | QA | 33.33% |  | QA | 0.66667 | 10 | 10 | 490000 |  |  |  |  | 0 | 0 | 0 | 49000 | 49000 | 588000 | QA
DR | [5 empty] | 10 | 10 | DR |  |  | DR |  |  |  | 70000 |  |  |  |  | 0 | 0 | 0 | 7000 | 7000 | 84000 | DR
TOT |  |  | 30 | 15 | 15 | 10 | 10 |  | 100% |  |  | 2 | 30 | 30 | 1540000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 154000 | 154000 | 1848000 | TOT
|  |  | Price per Site | 1050000 | 1050000 | 50000 | 50000 |  |  |  |  | # of Server | # of Sockets | # of Cores
Software Stack
Production | Acquisition/ Capital Cost | Maintenance/ Subscription | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  | 6000 | 1 | 20% | core | core | 1 | 0.66667 | 10 | 10 |  | 10 | socket | 10 | 0 |  |  |  |  | 48000 | 48000 | 48000 | 48000 | 48000 | 240000
VM |  |  | 2 | 20% | core | core | 1 | 0.66667 | 10 | 10 |  | 10 | socket | 10 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Application Server | 100 | 20 | 2 | 50% | PVU | core | 120 | 0.66667 | 10 | 10 |  | 10 | PVU | 1200 | 60000 |  |  |  |  | 0 | 12000 | 12000 | 12000 | 12000 | 108000
DB | 40000 | 8000 | 2 | 50% | core | core | 1 | 0.66667 | 10 | 10 |  | 10 | core | 10 | 200000 |  |  |  |  | 0 | 40000 | 40000 | 40000 | 40000 | 360000
Data Replication Tools |  | 3000 | 1 | 50% | core | core | 1 | 0.66667 | 10 | 10 |  | 10 | core | 10 | 0 |  |  |  |  | 15000 | 15000 | 15000 | 15000 | 15000 | 75000
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.66667 | 10 | 10 |  | 0.66667 | server | 0.66667 | 2000 |  |  |  |  | 0 | 400 | 400 | 400 | 400 | 3600
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.66667 | 10 | 10 |  | 0.66667 | server | 0.66667 | 2000 |  |  |  |  | 0 | 400 | 400 | 400 | 400 | 3600
[14 empty] | PROD | 264000 | 0 | 0 | 0 | 0 | 63000 | 115800 | 115800 | 115800 | 115800 | 790200
Dev | Acquisition/ Capital Cost | Maintenance/ Subscription | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS | 0 | 6000 | 1 | 20% | core | core | 1 | 0.33333 | 5 | 5 |  | 5 | socket | 5 | 0 |  |  |  |  | 24000 | 24000 | 24000 | 24000 | 24000 | 120000
VM | 0 | 0 | 2 | 20% | core | core | 1 | 0.33333 | 5 | 5 |  | 5 | socket | 5 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Application Server | 100 | 20 | 2 | 50% | PVU | core | 120 | 0.33333 | 5 | 5 |  | 5 | PVU | 600 | 30000 |  |  |  |  | 0 | 6000 | 6000 | 6000 | 6000 | 54000
DB | 40000 | 8000 | 2 | 50% | core | core | 1 | 0.33333 | 5 | 5 |  | 5 | core | 5 | 100000 |  |  |  |  | 0 | 20000 | 20000 | 20000 | 20000 | 180000
Data Replication Tools | 0 | 3000 | 1 | 50% | core | core | 1 | 0.33333 | 5 | 5 |  | 5 | core | 5 | 0 |  |  |  |  | 7500 | 7500 | 7500 | 7500 | 7500 | 37500
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.33333 | 5 | 5 |  | 0.33333 | server | 0.33333 | 1000 |  |  |  |  | 0 | 200 | 200 | 200 | 200 | 1800
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.33333 | 5 | 5 |  | 0.33333 | server | 0.33333 | 1000 |  |  |  |  | 0 | 200 | 200 | 200 | 200 | 1800
[14 empty] | DEV | 132000 | 0 | 0 | 0 | 0 | 31500 | 57900 | 57900 | 57900 | 57900 | 395100
Test | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS | 0 | 6000 | 1 | 20% | core | core | 1 | 0.33333 | 5 | 5 |  | 5 | socket | 5 | 0 |  |  |  |  | 24000 | 24000 | 24000 | 24000 | 24000 | 120000
VM | 0 | 0 | 2 | 20% | core | core | 1 | 0.33333 | 5 | 5 |  | 5 | socket | 5 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Application Server | 100 | 20 | 2 | 50% | PVU | core | 120 | 0.33333 | 5 | 5 |  | 5 | PVU | 600 | 30000 |  |  |  |  | 0 | 6000 | 6000 | 6000 | 6000 | 54000
DB | 40000 | 8000 | 2 | 50% | core | core | 1 | 0.33333 | 5 | 5 |  | 5 | core | 5 | 100000 |  |  |  |  | 0 | 20000 | 20000 | 20000 | 20000 | 180000
Data Replication Tools | 0 | 3000 | 1 | 50% | core | core | 1 | 0.33333 | 5 | 5 |  | 5 | core | 5 | 0 |  |  |  |  | 7500 | 7500 | 7500 | 7500 | 7500 | 37500
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.33333 | 5 | 5 |  | 0.33333 | server | 0.33333 | 1000 |  |  |  |  | 0 | 200 | 200 | 200 | 200 | 1800
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.33333 | 5 | 5 |  | 0.33333 | server | 0.33333 | 1000 |  |  |  |  | 0 | 200 | 200 | 200 | 200 | 1800
[14 empty] | Test | 132000 | 0 | 0 | 0 | 0 | 31500 | 57900 | 57900 | 57900 | 57900 | 395100
Pre Prod / QA | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS | 0 | 6000 | 1 | 20% | core | core | 1 | 0.66667 | 10 | 10 |  | 10 | socket | 10 | 0 |  |  |  |  | 48000 | 48000 | 48000 | 48000 | 48000 | 240000
VM | 0 | 0 | 2 | 20% | core | core | 1 | 0.66667 | 10 | 10 |  | 10 | socket | 10 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Application Server | 100 | 20 | 2 | 50% | PVU | core | 120 | 0.66667 | 10 | 10 |  | 10 | PVU | 1200 | 60000 |  |  |  |  | 0 | 12000 | 12000 | 12000 | 12000 | 108000
DB | 40000 | 8000 | 2 | 50% | core | core | 1 | 0.66667 | 10 | 10 |  | 10 | core | 10 | 200000 |  |  |  |  | 0 | 40000 | 40000 | 40000 | 40000 | 360000
Data Replication Tools | 0 | 3000 | 1 | 50% | core | core | 1 | 0.66667 | 10 | 10 |  | 10 | core | 10 | 0 |  |  |  |  | 15000 | 15000 | 15000 | 15000 | 15000 | 75000
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.66667 | 10 | 10 |  | 0.66667 | server | 0.66667 | 2000 |  |  |  |  | 0 | 400 | 400 | 400 | 400 | 3600
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.66667 | 10 | 10 |  | 0.66667 | server | 0.66667 | 2000 |  |  |  |  | 0 | 400 | 400 | 400 | 400 | 3600
[14 empty] | Pre Prod /QA | 264000 | 0 | 0 | 0 | 0 | 63000 | 115800 | 115800 | 115800 | 115800 | 790200
DR | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS | 0 | 6000 | 1 | 20% | core | core | 1 | 0 | 0 | 0 |  | 0 | socket | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
VM | 0 | 0 | 2 | 20% | core | core | 1 | 0 | 0 | 0 |  | 0 | socket | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Application Server | 100 | 20 | 2 | 50% | PVU | core | 120 | 0 | 0 | 0 |  | 0 | PVU | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
DB | 40000 | 8000 | 2 | 50% | core | core | 1 | 0 | 0 | 0 |  | 0 | core | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Data Replication Tools | 0 | 3000 | 1 | 50% | core | core | 1 | 0 | 0 | 0 |  | 0 | core | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0 | 0 | 0 |  | 0 | server | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0 | 0 | 0 |  | 0 | server | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
[14 empty] | DR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | Software Stack TOTALS |  |  | 792000 | 0 | 0 | 0 | 0 | 189000 | 347400 | 347400 | 347400 | 347400 | 2370600 | TOT
People
People | [11 empty] | # of Server | FTE Require |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
# of Servers covered by 1 FTE for IT Operations considering QoS |  | 10 | This is for patches, upgrade, backup, Crit Sit or Disaster recovery personnels, etc | [7 empty] | Prod | 0.66667 | 0.066667 |  | 1: 6666.6667; 2: 6666.6667; 3: 6666.6667; 4: 6666.6667; 5: 6666.6667 | 33333.3333 | Prod
Avg yearly Fully loaded cost of IT Staff |  | 100000 | [8 empty] | Dev | 0.33333 | 0.033333 |  | 1: 3333.3333; 2: 3333.3333; 3: 3333.3333; 4: 3333.3333; 5: 3333.3333 | 16666.6667 | Dev
[11 empty] | Test | 0.33333 | 0.033333 |  | 1: 3333.3333; 2: 3333.3333; 3: 3333.3333; 4: 3333.3333; 5: 3333.3333 | 16666.6667 | Test
[11 empty] | QA | 0.66667 | 0.066667 |  | 1: 6666.6667; 2: 6666.6667; 3: 6666.6667; 4: 6666.6667; 5: 6666.6667 | 33333.3333 | QA
[11 empty] | DR | 0 | 0 |  | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0 | 0 | DR
[12 empty] | TOT FTE required | 0.2 |  | 0 | 0 | 0 | 0 | 0 | 20000 | 20000 | 20000 | 20000 | 20000 | 100000 | TOT
Network
Network | [12 empty] | # of Server |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Avg cost of Networking Infrastructure per Server |  | 14000 | [9 empty] | Prod | 0.66667 |  | 6533.3333 |  |  |  |  | 0 | 653.3333 | 653.3333 | 653.3333 | 653.3333 | 9146.6667 | Prod
Avg discount % |  | 30% | [9 empty] | Dev | 0.33333 |  | 3266.6667 |  |  |  |  | 0 | 326.6667 | 326.6667 | 326.6667 | 326.6667 | 4573.3333 | Dev
Avg Maintenance/ Operating Cost (% of acq.) |  | 10% | [9 empty] | Test | 0.33333 |  | 3266.6667 |  |  |  |  | 0 | 326.6667 | 326.6667 | 326.6667 | 326.6667 | 4573.3333 | Test
Avg Maintenance/ Operating Cost (Currency) |  | 1400 | [9 empty] | QA | 0.66667 |  | 6533.3333 |  |  |  |  | 0 | 653.3333 | 653.3333 | 653.3333 | 653.3333 | 9146.6667 | QA
Starting Year of Maint |  | 2 | [9 empty] | DR | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | DR
[12 empty] | TOT # of Servers | 2 |  | 19600 | 0 | 0 | 0 | 0 | 0 | 1960 | 1960 | 1960 | 1960 | 27440 | TOT
Facilities
Space | [11 empty] | # of Server | # of Rack Cab | Avg. Footprint | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Footprint of Server Rack Cabinet | sq.m. | 2.6 | [8 empty] | Prod | 0.66667 | 0.66667 | 1.7333 | 1: 4853.3333; 2: 4853.3333; 3: 4853.3333; 4: 4853.3333; 5: 4853.3333 | 24266.6667 | Prod
[11 empty] | Dev | 0.33333 | 0.33333 | 0.86667 | 1: 2426.6667; 2: 2426.6667; 3: 2426.6667; 4: 2426.6667; 5: 2426.6667 | 12133.3333 | Dev
Fully loaded cost of space per sq meter | $ | 2800 | [8 empty] | Test | 0.33333 | 0.33333 | 0.86667 | 1: 2426.6667; 2: 2426.6667; 3: 2426.6667; 4: 2426.6667; 5: 2426.6667 | 12133.3333 | Test
[11 empty] | QA | 0.66667 | 0.66667 | 1.7333 | 1: 4853.3333; 2: 4853.3333; 3: 4853.3333; 4: 4853.3333; 5: 4853.3333 | 24266.6667 | QA
[11 empty] | DR | 0 | 0 | 0 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0 | 0 | DR
[12 empty] | 2 | 2 | 5.2 | 0 | 0 | 0 | 0 | 0 | 14560 | 14560 | 14560 | 14560 | 14560 | 72800 | TOT
[12 empty] | # of Server | # of Rack Cab | Avg. Footprint
Electricity | [11 empty] | # of Servers | kWh / year |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Actual Electricity Cost at the sites | $/kWh | 0.1 |  |  |  |  | Electricity Consumption by fully loaded z Server | kWh | 15 |  | Prod | 0.66667 | 6915.7895 |  | 1: 691.5789; 2: 691.5789; 3: 691.5789; 4: 691.5789; 5: 691.5789 | 3457.8947 | Prod
Electricity Additional Cost for cooling, UPS and other peripherals | % | 66% |  |  |  |  | Electricity by core | kWh | 0.078947 |  | Dev | 0.33333 | 3457.8947 |  | 1: 345.7895; 2: 345.7895; 3: 345.7895; 4: 345.7895; 5: 345.7895 | 1728.9474 | Dev
Electricity Consumption of Selected Server | kWh | 1.1842 | [8 empty] | Test | 0.33333 | 3457.8947 |  | 1: 345.7895; 2: 345.7895; 3: 345.7895; 4: 345.7895; 5: 345.7895 | 1728.9474 | Test
Yearly kWh/ server | kWh | 10373.6842 |  |  |  |  | Number of cores |  | 15 |  | QA | 0.66667 | 6915.7895 |  | 1: 691.5789; 2: 691.5789; 3: 691.5789; 4: 691.5789; 5: 691.5789 | 3457.8947 | QA
[11 empty] | DR | 0 | 0 |  | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0 | 0 | DR
[12 empty] | 2 | 20747.3684 |  | 0 | 0 | 0 | 0 | 0 | 2074.7368 | 2074.7368 | 2074.7368 | 2074.7368 | 2074.7368 | 10373.6842 | TOT
[12 empty] | # of Servers | kWh / year
[11 empty] | Prod |  |  |  | 0 | 0 | 0 | 0 | 0 | 5544.9123 | 5544.9123 | 5544.9123 | 5544.9123 | 5544.9123 | 27724.5614 | Prod
[11 empty] | Dev |  |  |  | 0 | 0 | 0 | 0 | 0 | 2772.4561 | 2772.4561 | 2772.4561 | 2772.4561 | 2772.4561 | 13862.2807 | Dev
[11 empty] | Test |  |  |  | 0 | 0 | 0 | 0 | 0 | 2772.4561 | 2772.4561 | 2772.4561 | 2772.4561 | 2772.4561 | 13862.2807 | Test
[11 empty] | QA |  |  |  | 0 | 0 | 0 | 0 | 0 | 5544.9123 | 5544.9123 | 5544.9123 | 5544.9123 | 5544.9123 | 27724.5614 | QA
[11 empty] | DR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | DR
[12 empty] | Facilities TOTALS |  |  | 0 | 0 | 0 | 0 | 0 | 16634.7368 | 16634.7368 | 16634.7368 | 16634.7368 | 16634.7368 | 83173.6842 | TOT
[13 empty] | Total costs for this scenario |  | 2351600 | 0 | 0 | 0 | 0 | 225634.7368 | 385994.7368 | 385994.7368 | 539994.7368 | 539994.7368 | 4429213.6842 | TOT
[13 empty] | Tot costs per year |  | 1: 2577234.7368; 2: 385994.7368; 3: 385994.7368; 4: 539994.7368; 5: 539994.7368 | 4429213.6842
[13 empty] | Tot cumulative costs |  | 1: 2577234.7368; 2: 2963229.4737; 3: 3349224.2105; 4: 3889218.9474; 5: 4429213.6842

## TCO comparison
| Workload [TPS]= | 2000
| x86 | Environments | [6 empty] | LinuxONE | Environments
Rack server w Xeon Gold 6244 8C 3.60GHz (2 Chips, 16 Cores) |  | Prod | Dev | Test | PreProd/QA | DR | Tot by Comp |  |  | Prod | Dev | Test | PreProd/QA | DR | Tot by Comp
Components | Hardware | 94080 | 31360 | 31360 | 54880 | 148960 | 360640 | Components | Hardware | 588000 | 294000 | 294000 | 588000 | 84000 | 1848000
| Software | 3003700 | 850850 | 850850 | 1675700 | 5556000 | 11937100 |  | Software | 790200 | 395100 | 395100 | 790200 | 0 | 2370600
| People | 766666.6667 |  |  |  |  | 766666.6667 |  | People | 100000 |  |  |  |  | 100000
| Network | 82320 | 27440 | 27440 | 48020 | 130340 | 315560 |  | Network | 9146.6667 | 4573.3333 | 4573.3333 | 9146.6667 | 0 | 27440
| Space | 26000 | 4506.6667 | 4506.6667 | 7886.6667 | 26000 | 68900 |  | Space | 24266.6667 | 12133.3333 | 12133.3333 | 24266.6667 | 0 | 72800
| Electricity | 26280 | 8760 | 8760 | 15330 | 41610 | 100740 |  | Electricity | 3457.8947 | 1728.9474 | 1728.9474 | 3457.8947 | 0 | 10373.6842
| Total by Env | 3999046.6667 | 922916.6667 | 922916.6667 | 1801816.6667 | 5902910 | 13549606.6667 |  | Total by Env | 1515071.2281 | 707535.614 | 707535.614 | 1415071.2281 | 84000 | 4429213.6842
[14 empty] | Savings = | 67.31%
| Hardware | Software | People | Network | Facilities | DR | TOT
x86 | 211680 | 6381100 | 766666.6667 | #REF! | #REF! | 5902910 | #REF!
LinuxONE | 1764000 | 2370600 | 100000 | #REF! | #REF! | 84000 | #REF!
| Cumulative Costs | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
| x86 | 6562961.3333 | 8283862.6667 | 10004764 | 11777185.3333 | 13549606.6667
| LinuxONE | 2577234.7368 | 2963229.4737 | 3349224.2105 | 3889218.9474 | 4429213.6842
| TCA (1st year) | Hardware | Software | TOT
| x86 | 257600 | 1379000 | 1636600
| LinuxONE | 1540000 | 264000 | 1804000 | 110.2%

## TCO growth
TPS | Total x86 | Total LinuxONE
10 | 497745 | 1552823
50 | 723320 | 1552823
100 | 964095 | 1552823
200 | 1632533 | 1552823
300 | 2225108 | 1718515
500 | 3740675 | 2041498
1000 | 7292987 | 2698173
1500 | 10766108 | 3688539
2000 | 13549607 | 4429214
2500 | 15878760 | 5660872
3000 | 18477583 | 6401546
4000 | 23483527 | 8132587
5000 | 28441903 | 10104920
6000 | 33460847 | 11835961